B.E Honors in   Renewable Energy System

Information Brochure of Honor Program

- Title of Program: Renewable Energy System

- Type of Program : Honor

- Department offering the program: Electrical Engineering

- Industry / Association / Collaboration:

- Departments eligible to opt for the program: Electrical Engineering Students

- General information about courses in program:

### The theory course in the program includes

Solar Energy Technology: This course deals with Design of Solar Cells, Photovoltaic System Design for direct conversion of solar energy into electrical energy. We also study Flat Plate Collectors, Concentrating Collectors and Solar Air Heaters for heating applications. Economic analysis is also carried out to check energy density, energy payback time, energy production factor, life cycle costing and life cycle conversion efficiency.                                                                      Power Electronics for Renewable Energy Systems: In this course I-V and P-V characteristics of Solar PV , DC-DC converters and its role in Maximum Power Point Tracking(MPPT) is dealt. Various PV converters and configurations, Wind Energy Conversion System(WECS), MPPT control, operation and analysis of wind generators, power converters, its configuration and control for wind energy system, hybrid renewable energy system and power quality.

Power System and Renewable Energy Modeling: This course introduces the need of modeling of electric machines, synchronous machine modeling, modeling of two, three and six  phase induction machine, transformer modeling, renewable generation modeling(wind turbine, solar PV, battery, flywheel), transmission line and load modeling.

Distributed Energy System: It gives Global Energy Scenario, Energy needs of India, and energy consumption patterns, Global environmental concern, Kyoto Protocol, Concept of Clean Development Mechanism (CDM) and Prototype Carbon Funds (PCF), various PV configurations, wind energy system design and integration, bio mass and bio gas production, small hydro resource assessment its sizing and economic analysis, concept of Distributed Generations(DG), various topologies and security issues in DG implementation, energy storage.

Energy Storage Systems: This is the most important course in today’s renewable energy world. It deals with different types of energy storage system viz mechanical, chemical, electrical, electrochemical, biological, magnetic, electromagnetic, and thermal and comparison of energy storage technologies, Fuel Cells and Hydrogen Storage, Battery hybridization and mobile storage, Battery Management Systems (BMS), Battery charging and Battery testing.

Three lab courses are included named Renewable Energy System, Power System Simulation and Advanced Power Electronics.

Credits for theory courses are 15 and for lab courses are 3.

- Advance knowledge or research orientation of Program:

After studying this honor program, students are ready to carry their Master’s program in various fields such as M. Tech in solar and alternate energy is a program offered by Amity University.  MBA in Natural Resource Management is one of the newest specializations of the Master of Business Administration (MBA). It is a two-year programme and covers the study of various natural resources and how resources provided by the nature can be preserved for further generations. They also study methods to control exploitation of resources to maintain a balance between man and nature. M. Tech in Energy Management is offered by Sam Higginbottom Institute of Agriculture, Technology & Sciences (SHIATS), Allahabad. M. Tech in Renewable Energy by Gandhigram Rural Institute, M. Tech in Energy Technology offered by TEZPUR UNIVERSITY, CL Patel Institute of Studies & Research in Renewable Energy (ISRRE), Anand is a special institute which offers M.Sc. and Ph.D. in Renewable Energy. Eindhoven University of Technology Netherlands offers Masters in Sustainable Energy Systems, Smart Electrical Networks and Systems, Karlsruhe Institute of Technology Germany offers Masters in Energy Technology. KU Leuven Beljium, ESADE business school Spain, UPC Spain, Aalto University Finland, Uppsala University Sweden, IST Portugal, Ecole polytechnic France, PoliTo Italy, Grenoble INP France, AGH University of Science and Technology Poland are the institutes in Europe offering Master’s program in Renewable Energy, Sustainable development, Energy Management etc.

# 8. 	Employability potential of program:

The introduction of renewable energy leads to job creation in India. To meet the target set by Government of India for RE, there is a huge demand for equipment manufacturing in renewable energy sector which leads to a requirement of large number of skilled manpower. Manpower requirement is not limited to only manufacturing sector but it is needed in every area including Installation, System Designing and Operations & Maintenance, Financing and Marketing. National Institute of Solar Energy was founded by Government of India for Research & Development and to produce skilled manpower in RE to help achieve the target set by Government. NISE, along with Green Jobs sector skills council is taking some wonderful initiatives to create awareness and enter into the arena of research and development in Renewable Energy.

9. 	Departmental Steering committee: For proper publicity / conduct of program

| SN | Name of the Faculty Member | Post | Designation | e-mail ID | Contact Number |
| --- | --- | --- | --- | --- | --- |
| 1 | Dr. S. P. Gawande | Member | Assistant Professor | spgawande_18@yahoo.com | 9960328951 |
| 2 | Dr. A. P. Munshi | Publicity head | Assistant Professor | aniketmunshi@gmail.com | 9158000491 9422157818 |
| 3 | Prof.U.V. Waghmare | Member | Assistant Professor | u.waghmare@yahoo.com | 9404085083 |

- Program Coordinator:

| SN | Name of the Faculty Member | Post | Designation | e-mail ID | Contact Number |
| --- | --- | --- | --- | --- | --- |
| 1 | Dr. R. M. Moharil | Program coordinator | Professor | rmm_ycce_ep@yahoo.com | 9049990512 9422129488 |

Scheme of Examination

Honors in Renewable Energy System

| SN | Sem | Sub. Code | Subject | T/P | Contact Hours | Credits | % Weightage | ESE Duration Hours |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  |  | L | T | P | Hrs |  | MSEs* | TA** | ESE |  |
| 1 | 5 | ELH101 | Solar Energy Technology | T | 3 | 0 | 0 | 3 | 3 | 30 | 20 | 50 | 3 Hours |
| 2 | 5 | ELH102 | Lab:Renewable Energy System | P | 0 | 0 | 2 | 2 | 1 |  | 60 | 40 |  |
| 3 | 6 | ELH111 | Power Electronics in Renewable Energy System | T | 3 | 0 | 0 | 3 | 3 | 30 | 20 | 50 | 3 Hours |
| 4 | 6 | ELH112 | Power System and Renewable Energy Modelling | T | 3 | 0 | 0 | 3 | 3 | 30 | 20 | 50 | 3 Hours |
| 5 | 6 | ELH113 | Lab: Advanced Power Electronics | P | 0 | 0 | 2 | 2 | 1 |  | 60 | 40 |  |
| 6 | 7 | ELH121 | Renewable and Distributed Energy system | T | 3 | 0 | 0 | 3 | 3 | 30 | 20 | 50 | 3 Hours |
| 7 | 7 | ELH122 | Energy storage Systems | T | 3 | 0 | 0 | 3 | 3 | 30 | 20 | 50 | 3 Hours |
| 8 | 7 | ELH123 | Lab: Power System Simulation | P | 0 | 0 | 2 | 2 | 1 |  | 60 | 40 |  |
| TOTAL |  | 15 | 0 | 6 | 21 | 18 |  |  |  |  |

| MSEs* = Three MSEs of 15 Marks each will conducted and marks of better 2 of these 3 MSEs will be considered for Continuous Assessment |
| --- |
| TA ** = for Theory : 20 marks on lecture quizzes, 8 marks on assignments, 2 marks on class performance |
| TA** = for Practical : MSPA will be 15 marks each |  |  |  |  |  |  |  |  |  |  |

V Semester

| ELH101 | Solar Energy Technology | L= 3 | T = 0 | P = 0 | Credits = 3 |
| --- | --- | --- | --- | --- | --- |
| Evaluation Scheme *Best Two out of three MSE’s would be considered | MSE-I* | MSE-II* | MSE-III* | TA | ESE | Total | ESE Duration |
|  | 15 | 15 | 15 | 20 | 50 | 100 | 3 Hrs |
| Prerequisites | Basic knowledge of Renewable Energy |
| Course Objective: Develop the knowledge of students regarding Solar Thermal and Solar Photovoltaic System design | Course Outcome Students will be able to Apply the knowledge of Solar cells and related parameters to design a solar PV system Compare the different types of Solar Collectors and select appropriate collector. Determine the economic parameters associated with Solar Systems. |
| UNIT I : Design of Solar Cells Upper limits of Cell parameters, Losses in Solar Cells, Solar cell design, Design for high Isc, Design for high Voc, Design for high fill factor (FF) |
| UNIT II : Photovoltaic System Design Standalone PV System configurations, Design methodology of PV systems, Wire sizing in PV System, Precise sizing of PV System |
| UNIT III : Flat Plate Collectors Solar Collector losses and loss estimation, Analysis of flat plate Collector, Heat transfer co-efficient, Influence of various parameters on Liquid Flat Plate Collector (LFPC), Testing and application of LPFC |
| UNIT IV : Concentrating Collectors Fundamentals of concentrating collectors, Cylindrical parabolic collector, Compound parabolic collector, Paraboloid dish collector, Central receiver collector, Solar concentrating ratio, Analytical treatment |
| UNIT V: Solar Air Heaters Basics and performance analysis, Testing and applications of Solar air heaters. |
| UNIT VI: Economic Analysis Introduction, Embodied Energy Analysis, Energy Density, Energy Payback time, Energy Production Factor, Life cycle Conversion efficiency, Lifecycle costing |

| SN | Title | Year | Author | Publication |
| --- | --- | --- | --- | --- |
| 1 | Solar Photovoltaic: Fundamentals, Technologies and Applications | 2011 | C.S. Solanki | Third Edition, PHI Publication |
| 2 | Solar Energy, Fundamentals, Design, Modeling and Applications | 2002 | G. N. Tiwari | Narosa |
| 3 | Solar Energy: Principles of Thermal Collection and Storage | 2006 | S. P. Sukhatme and J. K. Nayak | Tata McGraw Hill |
| 4 | Photovoltaic Systems:Analysis And Design | 2011 | A.K.Mukherjee And Nivedita Thakur | PHI Learning |
| Reference books: |
| SN | Title | Year | Author | Publication |
| 1 | Renewable energy sources and emerging technologies | 2008 | D. P. Kothari | 1st Edition PHI |
| 2 | Energy Technology :Non -conventional, Renewable and Conventional |  | S. Rao and B.B. Parulekar | Khanna Publisher, New Delhi |

V Semester

| ELH102 | Lab : Renewable Energy System | L= 0 | T = 0 | P = 2 | Credits = 1 |
| --- | --- | --- | --- | --- | --- |
| Evaluation Scheme | MSPA 1 | MSPA 2 | MSPA 3 | MSPA 4 | TA* | ESE | Total | ESE Duration |
|  | -- | -- | -- | -- | 60 | 40 | 100 |  |
| Prerequisites | Basic knowledge of Solar Energy Conversion System |
| Course Objective Students will understand the utilization and application of Renewable Energy Sources |  | Course Outcome Students will be able to 1) Analyze types of renewable energy sources, 2) Utilize solar energy for various applications. 3) Develop and Design solar and wind Energy system |
|  | SN Title 1 Study of Solar PV Emulator using Texas kit. 2 To determine the PV characteristics of solar panel 3 To plot the effect of series connected solar cells on PV characteristics. 4 To determine the effect of parallel connected solar cells on I-V characteristics 5 MATLAB based simulation of solar cell characteristics 6 MATLAB based simulation of grid connected solar cells using current control. 7 Solar Wind hybrid charging system. 8 Visit to renewable plant as case study. 9 Develop or design by students |

VI Semester

| ELH111 | Power Electronics in Renewable Energy System | L= 3 | T = 0 | P = 0 | Credits = 3 |
| --- | --- | --- | --- | --- | --- |
| Evaluation Scheme *Best Two out of three MSE’s would be considered | MSE-I* | MSE-II* | MSE-III* | TA | ESE | Total | ESE Duration |
|  | 15 | 15 | 15 | 20 | 50 | 100 | 3 Hrs |
| Prerequisites |  |
| Course Objective: To overview the different renewable energy system and Converter used and to understand their different configurations and topology. The objective is to study the various Grid interactive power converter topologies used in Wind and solar energy conversion system and their hybrid combination and the related power quality issue | Course Outcome Students will be able to 1) Describe the impact and significances of different renewable energy sources. 2) Explain solar thermal and solar photovoltaic applications 3) Describe and analyse the various solar photovoltaic inverters topologies and configurations, and characteristics. 4) Discuss and categorize wind energy conversion systems based on the generators, controls and operation. 5) Examine and apply various power converters for Wind energy systems and its controls. 6) Define and explain the need of hybrid systems, discuss its various configurations and various power quality issues in grid integrations. |
| UNIT I : Introduction Environmental aspects of electric energy conversion: impacts of renewable energy generation on environment (cost-GHG Emission) - Qualitative study of different renewable energy resources: Solar, wind, ocean, Biomass, Fuel cell, Hydrogen energy systems and hybrid renewable energy systems |
| UNIT II : Solar Thermal and Photovoltaic System Solar Thermal: Different Solar Concentrators and solar thermal applications Solar Photovoltaic: PV cell equivalent and V-I, P-V characteristics, DC-DC Converters and its role in Maximum Power Point Tracking (MPPT), MPPT techniques (Direct and Indirect) |
| UNIT III : Solar PV converters and Configurations PV inverters: PV inverter Configurations, PV based transformerless inverter topologies. Configuration: Standalone, Grid interactive, Bi-Modal systems, Grid synchronization (time and frequency Domain), Islanding and detection methods, Generic control for PV inverters. |
| UNIT IV : Wind Energy Conversion System (WECS) WECS: Introduction to WECS, Wind turbine technologies, WECS configurations and fundamentals of WECS controls, wind MPPT control, operation and analysis of wind generators (IG, PMSG, SCIG, DFIG) |
| UNIT V: Power Converters, Configurations and Controls for Wind Energy Systems Power Converters: AC Voltage Controllers, PWM inverters, Grid interactive inverters Configurations and Controls: Fixed speed WECS, Variable speed WECS (converter configurations for IG, PMSG based WECS and their controls) |
| UNIT VI: Hybrid Renewable Energy System and Power Quality (PQ) Need for Hybrid Systems and type of Hybrid systems, PQ issues in grid interconnections, measurement of voltage flicker, voltage dip, voltage swell, harmonics in grid integration and remedial measures |

| Text Books: |
| --- |
|  | Title | Edition | Author | Publisher |
| 1 | Power Electronics Hand book | 2001. | Rashid .M. H | Academic press, |
| 2 | Power Electronics for Modern Wind Turbines | 2006 | F. Blaabjerg and Z. Chen | Morgan & Claypool Publishers, 2006 |
| 3 | Non-conventional Energy Sources | 2006 | B. H. Khan | Tata McGraw Hill, |
| 4 | Modern Power Electronics and AC Drives | 2001 | B. K. Bose | Prentice Hall PTR |
| Reference Book: |
|  | Title | Edition | Author | Publisher |
| 1 | Wind energy system |  | Gray, L. Johnson | Prentice Hall inc |
| 2 | Power Conversion and Control of Wind Energy System | 2011 | Bin Wu, Yongqiang Lang, Navid Zargari, Samir Kouro | John Willey & Sons Inc., Publications , IEEE Press.2011 |
| 3 | Grid Converters for Photovoltaic and Wind Power Systems | 2011 | Remus Teodorescu. Marco Liserre, Pedro Rodriguez | John Willey & Sons Inc., Publications , IEEE Press.2011 |
| 4 | Analysis of Electric Machinery and Drive Systems |  | P. C. Krause, O. Wasynzuk, and S. D. Sudhoff | John Wiley & Sons Inc., Publications , IEEE Press. |
| 5 | Wind Power in Power System | 2005 | T. Ackermann(Ed.) | John Willey & Sons Inc., Publications , IEEE Press.2005 |

VI Semester

| ELH112 | Power System and Renewable Energy Modelling | L= 3 | T = 0 | P = 0 | Credits = 3 |
| --- | --- | --- | --- | --- | --- |
| Evaluation Scheme *Best Two out of three MSE’s would be considered | MSE-I* | MSE-II* | MSE-III* | TA | ESE | Total | ESE Duration |
|  | 15 | 15 | 15 | 20 | 50 | 100 | 3 Hrs |
| Prerequisites | Power System and Electrical Machines |
| Course Objective: To know the concept of modelling for power system components such as synchronous machines, induction machines, transformer, transmission line etc., with the load modelling. Modelling for renewable power generation such as wind, solar PV will also be described to the students. | Course Outcome Students will be able to 1. Explain the general construction and relationship between the various fluxes of various electrical machines and its impact on induced emf during the small and transient disturbances. 2. Analyze the electrical machines in stationary and rotary frame of reference in per unit for stability analysis. 3. Evaluate the electrical machine parameters for various power system components under static and dynamic load conditions. 4. Create mathematical models for stationary and rotating machines under steady state and transient conditions |
| UNIT I : General Background Need of modelling, Introduction to modelling of electrical machines, Basic Concepts & considerations for modelling of power system components for Stability. |
| UNIT II : Synchronous Machine Modeling Basic equations of a synchronous machine, commonly used Reference Frames, change of variables, machine variables and transform variables for arbitrary reference frame. Stationary circuit variables transformed to the arbitrary Reference frame, Transformation between reference frames, and Transformation of a balanced set, Balanced steady state Phasor relationships, and balanced steady state voltage equations |
| UNIT III : Polyphase Induction Machines: Modelling of Two phase, Three phase & six phase Induction Motor, Voltage, torque equations, Equivalent circuit, Steady state analysis, Dynamic performance during sudden changes in load torque and three phase faults at the machine terminals |
| UNIT IV : Transformer modeling Introduction, single phase transformer model, three phase transformer connection, per phase analysis, p.u. normalization, p.u. three phase quantities, p.u. analysis of normal system, regulating transformer for voltage & phase angle control. |
| UNIT V: Renewable generation modeling: Wind turbines and generators, Solar PV systems, Battery and flywheel energy storage system modeling. Modeling of Hybrid Generator. |
| UNIT VI: Transmission line and load modeling Load modeling: Basic load- modeling concept, static load models, dynamic load model, and acquisition of load model parameters. Transmission line modeling: Introduction, derivation of terminal V, I relations, waves on transmission lines, transmission matrix, lumped circuit equivalent, simplified models, complex power transmission (short line, medium & long line, Radial line). |

| Text Books: |
| --- |
|  | Title | Edition | Author | Publisher |
| 1 | Power System Stability and Control | 1993 | P. Kundur | McGraw-Hill |
| 2 | Dynamic Models for Steam and Hydro Turbines in Power System Studies |  |  | IEEE Committee Report |
| 3 | Power System Control and Stability | 1978 | P.M Anderson and A.A Fouad | Iowa State University Press, Ames, Iowa |
| 4 | Distributed Generation | 2010 | N. Jenkins, J. B. Ekanayake, G. Strbac | IET London |
| 5 | NPTEL Videos |  |  |  |

VI Semester

VI Semester

| ELH113 | Lab : Advanced Power Electronics | L= 0 | T = 0 | P = 2 | Credits = 1 |
| --- | --- | --- | --- | --- | --- |
| Evaluation Scheme | MSPA 1 | MSPA 2 | MSPA 3 | MSPA 4 | TA* | ESE | Total | ESE Duration |
|  | -- | -- | -- | -- | 60 | 40 | 100 |  |
| Prerequisites | Power Electronics |
| Course Objective: 1.To impart the knowledge of recent and advanced developments in the PE field. 2.To ensure the students having an in-depth understanding of the design and control of various converter |  | Course Outcome Students will be able to 1. Describe the working operation of conventional and advanced semiconductor devices 2 Demonstrate the skill of analyzing and design of controlled rectifiers. 3. Analyze and design of various types of converters. |
| List of Practicals will be based on syllabus of Advanced Power Electronics |

VII Semester

| ELH121 | Renewable and Distributed Energy system | L= 3 | T = 0 | P = 0 | Credits = 3 |
| --- | --- | --- | --- | --- | --- |
| Evaluation Scheme *Best Two out of three MSE’s would be considered | MSE-I* | MSE-II* | MSE-III* | TA | ESE | Total | ESE Duration |
|  | 15 | 15 | 15 | 20 | 50 | 100 | 3 Hrs |

| Prerequisites | Renewable Energy and Power Electronics |
| --- | --- |
| Course Objective: The subject objective is to enhance the understanding of the students on concepts of Electrical aspects of Renewable Energy Sources and Distributed Generation. The student will also get knowledge about challenges of Renewable Energy integration | Course Outcome Students will be able to Relate and analyze global energy requirements and solving the needs by using solar energy. Design wind energy system and its integration with other systems. Develop a model for biogas plant and small hydro. Explain the need of distributed generation and integrated operation of renewable sources. |
| UNIT I : Introduction to Energy Sources Global Energy Scenario, Energy resources (Conventional and nonconventional), Energy needs of India, and energy consumption patterns. World-wide potentials of these sources. Energy efficiency and energy security, Energy and its environmental impacts. Global environmental concern, Kyoto Protocol, Concept of Clean Development Mechanism (CDM) and Prototype Carbon Funds (PCF). |
| UNIT II : Solar Energy Solar Radiation measurement, Energy collectors and storage. Applications of solar energy, Conversion efficiency and power output. Sizing of PV system, Maximum power point tracking and algorithms, Stand-Alone PV Systems, PV-Powered water pumping. |

UNIT III : Wind Energy: Basics of wind energy, Wind characteristics and resources, Electrical aspects of wind turbines, System design and integration, Wind energy Storage.

UNIT IV : Energy from Biomass & Small Hydro Waste biomass and blended bioresources in biogas production, Pre-treatment methods to enhance biogas production, Designing a biogas plant. Small Hydro: Resource assessment, System sizing, MHP Economics.

UNIT V: Distributed Generations (DG) Concept of distributed generations, topologies, Selection of sources, Regulatory standards/ framework, Standards for interconnection, Security issues in DG implementations. Energy storage.

UNIT VI: Integration of Distribution System Requirements for grid interconnection and impact on existing Power System: Reliability, Stability and Power quality issues. Distribution power flow, Operational aspects of distribution systems with multiple DGs and Energy storage, Voltage and Reactive power management in integrated systems with DGs and Energy Storage.

| Text Books: |
| --- |
|  | Title | Edition | Author | Publisher |
| 1 | Solar Photovoltaic: Fundamentals, Technologies and Applications | 2009 | C.S. Solanki | Third Edition, PHI Publication |
| 2 | Integration of Distributed Generation in the Power System | 2011 | Math J. Bollen, Fainan Hassan | IEEE Press |
| 3 | Wind Energy Explained-Theory,Design and Application | 2009 | Manwell J. F, McGowan J.G, and Rogers A.L | John Wiley and Sons, 2nd Edition. |
| 4 | Renewable energy sources and emerging technologies | 2008 | D. P. Kothari | 1st Edition PHI |
| 5 | Improving Biogas production: Technological Challenges, alternative sources, future developments | 2019 | Helen Treichel, Gislaine Fongaro | Springer (Biofuel and Biorefinery Technologies Vol 9 |
| Reference Book: |
|  | Title | Edition | Author | Publisher |
| 1 | Handbook of Solar Energy, Theory, Analysis and Applications | 2016 | G.N.Tiwari, Arvind Tiwari | Springer (Energy Systems in Electrical Engineering) |

VII Semester

| ELH122 | Energy Storage Systems | L= 3 | T = 0 | P = 0 | Credits = 3 |
| --- | --- | --- | --- | --- | --- |
| Evaluation Scheme *Best Two out of three MSE’s would be considered | MSE-I* | MSE-II* | MSE-III* | TA | ESE | Total | ESE Duration |
|  | 15 | 15 | 15 | 20 | 50 | 100 | 3 Hrs |
| Prerequisites |  |
| Course Objective: To enable students to explore about energy storage systems, its advancements and its applications. To Acquire knowledge pertaining to various ways to store energy, its analysis and use. | Course Outcome Students will be able to Describe the functions of energy storages, their sizing, and applications. Explain electrochemical and mechanical energy storage. Analyse the function and use of flywheel, fuel cells and hydrogen storage. 4. Illustrate battery hybridization, recycling, battery management systems, chargers, testing and mobile storage |
| UNIT I : Introduction to energy storage Necessity of energy storage, different types of energy storage, mechanical, chemical, electrical, electrochemical, biological, magnetic, electromagnetic, thermal, comparison of energy storage technologies. |
| UNIT II : Electrochemical Energy Storage Supercapacitors, fuel-cells, batteries, superconducting magnetic energy storage (SMES), mobile Vs stationary energy storage. |
| UNIT III : Mechanical Energy Storage Pumped hydro, compressed gas, high energy flywheel, thermal. |
| UNIT IV : Fuel Cells and Hydrogen Storage Fuel cells and its thermodynamics, Hydrogen storage systems, Fuel reformers. |
| UNIT V: Battery hybridization and mobile storage Introduction to battery storage, emerging battery technologies, battery hybridization, electric vehicles (EVs), and its types, hybrid system for energy storage. |
| UNIT VI: Battery Management Systems (BMS) Technology and economic aspects of battery recycling, its applications, Battery management systems and controls, codes and standards, safety of high voltage devices. Battery charging and methods of Battery testing. |

| Text Books: |
| --- |
|  | Title | Edition | Author | Publisher |
| 1 | Energy Storage - Technologies and Applications | 2013 | Ahmed Faheem Zobaa | InTech. |
| 2 | Fundamentals of Energy Storage | 2017 | J. Jensen and B. Sorenson | Wiley, New York |
| 3 | Chemical and Electrochemical Energy System | 1998 | R. Narayan and B. Viswanathan | University Press |
| 4 | Thermal energy storage: Systems and Applications | 2010 | Dincer I. and Rosen M. A. | Wiley, New York |
| 5 | Compressed air energy storage | 2008 | F. P. Miller, A. F. Vandome, M. B. John | VDM publishing |
| 6 | Fuel cell Fundamentals | 2016 | R. O’Hayre, S. Cha, W. Colella and F. B. Prinz | Wiley, New York |
| Reference Books: |
|  | Title | Edition | Author | Publisher |
| 1 | Energy Storage: Fundamentals, Materials and Applications | 2015 | Huggins R. A. | Springer |
| 2 | Battery Systems Engineering | 2012 | C. D. Rahn and C. Wang, | Wiley, New York |
| 3 | Handbook of Battery Materials | 2011 | C. Daniel, J. O. Besenhard | Wiley VCH Verlag GmbH & Co. KgaA |
| 4 | Related IEEE Transactions and reputed journals |  |  |  |

VII Semester

| ELH123 | Lab : Power System Simulation |  | L= 0 | T = 0 | P = 2 | Credits = 1 |
| --- | --- | --- | --- | --- | --- | --- |
| Evaluation Scheme | MSPA 1 | MSPA 2 | MSPA 3 | MSPA 4 | TA* | ESE | Total | ESE Duration |
|  | -- | -- | -- | -- | 60 | 40 | 100 |  |
| Prerequisites | Power System and Power Electronics |
| Course Objective To provide better understanding of power system analysis through digital simulation. To present a problem oriented knowledge of power system analysis methods. To identify & formulate solutions to problems relevant to power system using MATLAB. |  | Course Outcome Students will be able to Solve and design the power system problems. Explain, compare various pulse width modulations and apply to different converter topologies Use and evaluate the load balancing for compensation. Design and analyse the renewable energy sources. Design the various controls and its application in power system. Apply and infer the performance of compensators in power system. |
|  | SN Title 1 To study and implement the different multilevel inverters 2 Analysis and implementation of sinusoidal PWM for multilevel inverters 3 To study and simulate PV array with varying temperature and insolation level 4 To study and execute the different modes of operation of SSSC 5 To study and implement TCR for a transmission line 6 To study and simulate vector controlled IM drive using 5 level diode clamped multilevel inverter 7 To study and implement Distribution Static Compensator 8 To study and simulate the open loop balancing algorithm for load balancing |

In Laboratory courses TA=MSPA 1+MSPA 2+MSPA 3+MSPA 4= 60 marks